## Slide 1
Sensors and Corrosion Science
Module 4 connects smart sensing with metal degradation and protection.
VTU 1BCHES102/202 | Module 4
Opening
01
Applied Chemistry
Module 4
Transducers • actuators • conductometric sensor • colorimetric sensor • gas sensor • biosensor • corrosion theory • corrosion control • CPR
SENSE
PROTECT
Notes: What to say: Open by saying smart systems must detect chemical changes and also survive chemical attack.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 2
Module 4 learning path
Use the VTU syllabus as the complete checklist.
VTU 1BCHES102/202 | Module 4
Opening
02
1
Explain sensors, transducers and actuators
2
Explain conductometric sensor principle, construction and acid-mixture estimation
3
Explain colorimetric sensor principle, instrumentation and copper estimation in PCB
4
Explain electrochemical gas sensors for NOx and SOx detection
5
Explain glucose biosensor construction and working
6
Explain corrosion theory, types, protection methods and CPR numericals
Notes: What to say: Show that the first half measures chemistry and the second half controls unwanted chemistry.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 3
The sensing story
Build the sensing idea before definitions.
VTU 1BCHES102/202 | Module 4
Opening
03
Chemical change
Sensitive material responds
Signal is generated
Signal is processed
Result is displayed
Notes: What to say: Use this same path for all sensor types.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 4
The corrosion story
Build the corrosion idea before theory.
VTU 1BCHES102/202 | Module 4
Opening
04
Metal surface
Moisture / electrolyte
Anodic oxidation
Cathodic reduction
Corrosion product
Notes: What to say: Tell students corrosion is an electrochemical cell on a metal surface.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 5
What is a sensor?
Define sensor in engineering language.
VTU 1BCHES102/202 | Module 4
Sensors
05
Sensor
A sensor detects a physical, chemical or biological change and converts it into a measurable signal.
Input
Detection
Response
Signal
Measurement
Notes: What to say: Use temperature, glucose and gas sensors as quick examples.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 6
Why sensors matter in smart systems
Show real-world need.
VTU 1BCHES102/202 | Module 4
Sensors
06
Health monitoring
Glucose and wearable sensors track body chemistry.
Environment monitoring
Gas sensors detect air pollutants such as NOx and SOx.
Industrial control
Sensors help maintain concentration, pH and process safety.
Electronics manufacturing
Colorimetric methods help estimate copper in PCB samples.
Notes: What to say: Ask students where sensors appear in a phone or lab.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 7
Transducer
Define transducer.
VTU 1BCHES102/202 | Module 4
Terminology
07
Transducer
A transducer converts one form of energy or signal into another form, often converting a sensor response into an electrical signal.
Energy conversion
Signal conversion
Input
Output
Measurement
Notes: What to say: Clarify that many sensors include a transducer element.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 8
Actuator
Define actuator.
VTU 1BCHES102/202 | Module 4
Terminology
08
Actuator
An actuator receives a control signal and produces a physical action such as motion, pressure, heat or flow control.
Control signal
Action
Movement
Valve
Motor
Notes: What to say: Contrast actuator with sensor: one senses, the other acts.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 9
Sensor, transducer and actuator compared
Avoid terminology confusion.
VTU 1BCHES102/202 | Module 4
Terminology
09
Term
Main role
Example
Sensor
Detects a change
Gas sensor detects NOx
Transducer
Converts signal/energy
Electrode converts ion activity to voltage
Actuator
Produces action
Valve opens after sensor signal
Notes: What to say: Use this as a two-mark revision anchor.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 10
Basic sensor block diagram
Show universal sensor architecture.
VTU 1BCHES102/202 | Module 4
Sensors
10
Analyte / stimulus
Sensing element
Transducer
Signal conditioning
Display / decision
Notes: What to say: Tell students every sensor answer can start with this block diagram.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 11
What is conductometry?
Define the measured property.
VTU 1BCHES102/202 | Module 4
Conductometric Sensor
11
Conductometry
Conductometry measures the electrical conductance of an ionic solution; conductance changes when ion concentration changes.
Conductance
Ions
Electrolyte
Concentration
Measurement
Notes: What to say: Connect conductance with acid-base titration.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 12
Conductometric sensor principle
Explain the principle.
VTU 1BCHES102/202 | Module 4
Conductometric Sensor
12
Ions carry current
Concentration changes during reaction
Conductance changes
Endpoint appears as graph break
Unknown concentration is calculated
Notes: What to say: Stress graph-based endpoint detection.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 13
Construction of conductometric sensor
Identify parts.
VTU 1BCHES102/202 | Module 4
Conductometric Sensor
13
Conductometric sensor
It contains a conductivity cell with two inert electrodes, sample solution, AC source or conductance meter and display/recording unit.
Construction view
Sample
Sensing part
Transducer
Output
Sample acid mixture
Electrodes
Conductance meter
Graph
Endpoint
Notes: What to say: Point to the two electrodes and meter.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 14
Working of conductometric sensor
Explain measurement steps.
VTU 1BCHES102/202 | Module 4
Conductometric Sensor
14
Dip electrodes in sample
Apply small AC voltage
Measure conductance
Add titrant gradually
Plot conductance vs volume
Notes: What to say: Mention AC reduces electrode polarization.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 15
Acid mixture estimation by conductometry
Explain the application.
VTU 1BCHES102/202 | Module 4
Conductometric Sensor
15
Take acid mixture
Titrate with standard base
Record conductance after each addition
Plot graph segments
Find endpoints and calculate acids
Notes: What to say: Use HCl + CH3COOH type mixture as a familiar example.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 16
Conductometric titration curve
Explain curve interpretation.
VTU 1BCHES102/202 | Module 4
Conductometric Sensor
16
Strong acid region
Conductance decreases as highly mobile H+ is neutralized.
Weak acid region
Conductance changes more slowly as weak acid ionizes during titration.
After endpoint
Excess OH- increases conductance.
Endpoint
Intersection of straight-line portions gives equivalence point.
Notes: What to say: Ask students why H+ replacement lowers conductance.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 17
Advantages and limitations
Give balanced points.
VTU 1BCHES102/202 | Module 4
Conductometric Sensor
17
Advantages
Limitations
1
Useful for colored/turbid solutions
2
No indicator required
3
Endpoint from graph
4
Works for weak/strong acid mixtures
1
Needs accurate conductance readings
2
Temperature affects conductance
3
Dilution correction may be needed
4
Graph must be interpreted carefully
Notes: What to say: Include both sides for exam completeness.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 18
What is colorimetry?
Define colorimetric measurement.
VTU 1BCHES102/202 | Module 4
Colorimetric Sensor
18
Colorimetry
Colorimetry estimates concentration by measuring the intensity of color produced by a chemical species or colored complex.
Color intensity
Absorbance
Concentration
Colored complex
Calibration
Notes: What to say: Link visible color intensity with concentration.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 19
Colorimetric sensor principle
Explain Beer-Lambert logic simply.
VTU 1BCHES102/202 | Module 4
Colorimetric Sensor
19
A = log(I0 / I)
A = epsilon b c
Absorbance is proportional to concentration
when path length and conditions are constant.
Colorimetric principle
Exam method: write the equation, define symbols, substitute values with units, and state the practical meaning of the result.
Notes: What to say: Define I0, I, b and c at teaching level.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 20
Instrumentation of colorimetric sensor
Identify blocks.
VTU 1BCHES102/202 | Module 4
Colorimetric Sensor
20
Light source
Filter / wavelength selector
Sample cuvette
Detector
Meter / concentration output
Notes: What to say: Point out the detector measures transmitted light.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 21
Construction of colorimeter
Show device parts.
VTU 1BCHES102/202 | Module 4
Colorimetric Sensor
21
Colorimetric sensor
A typical colorimeter has a lamp or LED, wavelength filter, cuvette holder, photodetector, amplifier and display.
Construction view
Sample
Sensing part
Transducer
Output
Colored sample
Filter
Detector
Signal
Concentration
Notes: What to say: Relate each instrument block to the principle.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 22
Working of colorimetric estimation
Explain process.
VTU 1BCHES102/202 | Module 4
Colorimetric Sensor
22
Prepare colored complex
Select wavelength
Measure blank
Measure standards and sample
Use calibration to find concentration
Notes: What to say: Pause at calibration curve and ask why standards are needed.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 23
Copper estimation in PCB sample
Explain syllabus application.
VTU 1BCHES102/202 | Module 4
Colorimetric Sensor
23
Dissolve PCB copper sample
Convert Cu2+ to colored complex
Measure absorbance
Compare with standards
Calculate copper concentration
Notes: What to say: Mention PCB copper recovery/quality analysis without overcomplicating digestion chemistry.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 24
Colorimetric strengths and errors
Clarify exam points.
VTU 1BCHES102/202 | Module 4
Colorimetric Sensor
24
Strengths
Common errors
1
Simple instrumentation
2
Good for colored complexes
3
Useful for trace metal estimation
4
Calibration gives quantitative result
1
Wrong wavelength
2
Dirty cuvette
3
Unstable color complex
4
Ignoring blank correction
Notes: What to say: Help students avoid lab-report mistakes.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 25
Electrochemical gas sensors
Define gas sensor.
VTU 1BCHES102/202 | Module 4
Gas Sensors
25
Electrochemical gas sensor
An electrochemical gas sensor detects gases by allowing them to react at an electrode and measuring the resulting current or potential change.
Target gas
Electrode reaction
Electrolyte
Current
Concentration
Notes: What to say: Use pollution monitoring as the bridge to NOx and SOx.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 26
Principle of electrochemical gas sensing
Explain the principle.
VTU 1BCHES102/202 | Module 4
Gas Sensors
26
Gas diffuses through membrane
Gas reaches sensing electrode
Redox reaction occurs
Current is produced
Signal is proportional to gas concentration
Notes: What to say: Tell students current is the measured analytical signal.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 27
Construction of electrochemical gas sensor
Identify components.
VTU 1BCHES102/202 | Module 4
Gas Sensors
27
Electrochemical gas sensor
It contains gas diffusion membrane, working electrode, counter electrode, reference electrode, electrolyte and signal-processing circuit.
Construction view
Sample
Sensing part
Transducer
Output
Gas sample
Membrane
Electrodes
Current
Concentration
Notes: What to say: Point to working, counter and reference electrodes.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 28
Detection of NOx and SOx in air sample
Explain application steps.
VTU 1BCHES102/202 | Module 4
Gas Sensors
28
Draw air sample
Gas diffuses into sensor
NOx/SOx reacts at electrode
Current changes
Instrument reports concentration
Notes: What to say: Mention air-quality monitoring and industrial exhaust monitoring.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 29
NOx and SOx sensor applications
Show why detection matters.
VTU 1BCHES102/202 | Module 4
Gas Sensors
29
Air quality monitoring
Tracks pollutants that affect respiratory health.
Industrial emissions
Supports stack and process monitoring.
Smart cities
Sensor networks can map pollution hotspots.
Safety control
Alarms warn when pollutant levels rise.
Notes: What to say: Keep this application-focused.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 30
Gas sensor limitations
Balance practical answer.
VTU 1BCHES102/202 | Module 4
Gas Sensors
30
Selectivity
Other gases may interfere with response.
Humidity and temperature
Environmental conditions can shift readings.
Sensor aging
Electrolyte and electrodes degrade over time.
Calibration need
Reliable results require periodic calibration.
Notes: What to say: Ask students why calibration is unavoidable.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 31
What is a biosensor?
Define biosensor.
VTU 1BCHES102/202 | Module 4
Biosensor
31
Biosensor
A biosensor combines a biological recognition element with a transducer to detect a biological or chemical analyte.
Bioreceptor
Analyte
Transducer
Signal
Biofluid
Notes: What to say: Use glucose detection as the immediate example.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 32
Biosensor construction
Identify standard parts.
VTU 1BCHES102/202 | Module 4
Biosensor
32
Biosensor
A biosensor contains a biological recognition layer, transducer, immobilization support, signal processor and display.
Construction view
Sample
Sensing part
Transducer
Output
Biofluid sample
Enzyme layer
Transducer
Signal
Reading
Notes: What to say: Point to enzyme layer as the specificity source.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 33
Glucose biosensor principle
Explain glucose oxidase logic.
VTU 1BCHES102/202 | Module 4
Biosensor
33
Glucose reaches enzyme layer
Glucose oxidase catalyzes reaction
Electroactive product or oxygen change occurs
Electrode measures current
Glucose concentration is displayed
Notes: What to say: Keep it conceptual and exam-ready.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 34
Working for glucose detection in biofluids
Explain stepwise application.
VTU 1BCHES102/202 | Module 4
Biosensor
34
Place blood/serum sample
Glucose diffuses to enzyme film
Reaction rate depends on glucose
Current is measured
Calibration converts signal to concentration
Notes: What to say: Ask students why enzyme immobilization is important.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 35
Glucose biosensor applications and care
Give practical points.
VTU 1BCHES102/202 | Module 4
Biosensor
35
Diabetes monitoring
Rapid blood-glucose measurement.
Clinical labs
Biofluid testing with small sample volume.
Wearable health devices
Continuous or near-continuous monitoring concepts.
Care points
Enzyme activity, temperature and calibration affect accuracy.
Notes: What to say: Emphasize that biological layers can degrade.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 36
Four sensor methods compared
Separate the sensor types.
VTU 1BCHES102/202 | Module 4
Sensor Revision
36
Sensor
Measured signal
Module 4 application
Conductometric
Conductance change
Acid mixture estimation
Colorimetric
Absorbance/color intensity
Copper estimation in PCB
Electrochemical gas
Current/potential change
NOx and SOx in air
Biosensor
Bio-recognition signal
Glucose in biofluids
Notes: What to say: Use this as a quick revision slide before corrosion.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 37
What is corrosion?
Define corrosion.
VTU 1BCHES102/202 | Module 4
Corrosion
37
Corrosion
Corrosion is the gradual deterioration of a metal by chemical or electrochemical reaction with its environment.
Metal loss
Environment
Oxidation
Electrolyte
Corrosion product
Notes: What to say: Connect corrosion to rusting and electronic-device failure.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 38
Why corrosion is an electrochemical problem
Explain the core idea.
VTU 1BCHES102/202 | Module 4
Corrosion
38
Anodic area loses metal
Electrons travel through metal
Cathodic area consumes electrons
Electrolyte carries ions
Corrosion cell continues
Notes: What to say: Repeat: anodic part corrodes.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 39
Electrochemical theory of corrosion
Show theory stepwise.
VTU 1BCHES102/202 | Module 4
Corrosion
39
Metal develops anodic and cathodic sites
At anode: M -> Mn+ + ne-
Electrons move to cathode
Cathodic reaction occurs
Corrosion product forms
Notes: What to say: Ask students to identify anode and cathode on a wet iron surface.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 40
Anodic and cathodic reactions
Give reaction anchors.
VTU 1BCHES102/202 | Module 4
Corrosion
40
Anode:
M -> Mn+ + ne-
Cathode in neutral water:
O2 + 2H2O + 4e- -> 4OH-
Metal ions + OH- -> corrosion products
Electrochemical corrosion
Exam method: write the equation, define symbols, substitute values with units, and state the practical meaning of the result.
Notes: What to say: Use these equations as marks anchors.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 41
Factors that accelerate corrosion
Explain causes.
VTU 1BCHES102/202 | Module 4
Corrosion
41
Moisture
Provides electrolyte path for ion movement.
Dissolved oxygen
Supports cathodic reduction.
Salts and pollutants
Increase conductivity and aggressive attack.
Metal contact
Dissimilar metals can create galvanic cells.
Notes: What to say: This slide prepares students for corrosion types.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 42
Differential metal corrosion
Define galvanic/differential metal corrosion.
VTU 1BCHES102/202 | Module 4
Corrosion Types
42
Differential metal corrosion
Differential metal corrosion occurs when two dissimilar metals are electrically connected in an electrolyte; the more active metal becomes anodic and corrodes.
Dissimilar metals
Electrical contact
Electrolyte
Anode corrodes
Cathode protected
Notes: What to say: Use steel-copper contact as an example.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 43
Differential metal corrosion process
Show process.
VTU 1BCHES102/202 | Module 4
Corrosion Types
43
Two dissimilar metals touch
Electrolyte completes circuit
Less noble metal becomes anode
Metal dissolves at anode
Corrosion is localized
Notes: What to say: Ask students which metal should be protected.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 44
Differential aeration corrosion
Define oxygen-concentration corrosion.
VTU 1BCHES102/202 | Module 4
Corrosion Types
44
Differential aeration corrosion
Differential aeration corrosion occurs when different areas of a metal surface receive different oxygen concentrations, creating anodic and cathodic regions.
Oxygen difference
Poorly aerated area
Anode
Well-aerated area
Cathode
Notes: What to say: Stress low oxygen area usually becomes anodic.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 45
Waterline corrosion
Explain waterline attack.
VTU 1BCHES102/202 | Module 4
Corrosion Types
45
Waterline corrosion
Waterline corrosion is differential aeration corrosion near the water-air boundary, where oxygen concentration differs above and below the waterline.
Waterline
Oxygen gradient
Anodic region
Cathodic region
Localized attack
Notes: What to say: Use ship hulls/tanks as examples.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 46
Pitting corrosion
Define pitting.
VTU 1BCHES102/202 | Module 4
Corrosion Types
46
Pitting corrosion
Pitting corrosion is highly localized corrosion that forms small holes or pits, often when a protective film breaks down locally.
Localized attack
Pit
Protective film breakdown
Autocatalytic
Dangerous
Notes: What to say: Explain pits are dangerous because they look small but penetrate deeply.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 47
Waterline vs pitting corrosion
Clarify the difference.
VTU 1BCHES102/202 | Module 4
Corrosion Types
47
Waterline corrosion
Pitting corrosion
1
Caused by oxygen concentration difference
2
Occurs near air-water boundary
3
Often visible as a band
4
Common in tanks and marine structures
1
Caused by local film breakdown
2
Forms small deep holes
3
Often hard to detect early
4
Can perforate metal suddenly
Notes: What to say: Use this for exam comparison.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 48
How corrosion control works
Introduce control methods.
VTU 1BCHES102/202 | Module 4
Corrosion Control
48
Block electrolyte
Separate dissimilar metals
Make surface protective
Use sacrificial layer
Reduce corrosive environment
Notes: What to say: Transition from problem to protection.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 49
Galvanization
Define galvanization.
VTU 1BCHES102/202 | Module 4
Galvanization
49
Galvanization
Galvanization protects iron or steel by coating it with zinc, which provides barrier protection and sacrificial protection.
Zinc coating
Barrier
Sacrificial anode
Steel protection
Rust prevention
Notes: What to say: Stress zinc corrodes preferentially.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 50
How galvanization protects steel
Explain protection process.
VTU 1BCHES102/202 | Module 4
Galvanization
50
Steel surface is coated with zinc
Zinc blocks moisture and oxygen
If scratched, zinc acts as anode
Zinc corrodes first
Steel remains protected
Notes: What to say: Ask why galvanized steel still protects after small scratches.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 51
Anodization
Define anodization.
VTU 1BCHES102/202 | Module 4
Anodization
51
Anodization
Anodization is an electrochemical process that thickens the natural oxide layer on a metal surface, especially aluminium, to improve corrosion resistance.
Oxide layer
Electrochemical process
Aluminium
Hard surface
Protection
Notes: What to say: Explain anodized aluminium is common in device bodies.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 52
Anodization process
Show steps.
VTU 1BCHES102/202 | Module 4
Anodization
52
Clean metal surface
Make metal the anode
Pass current in electrolyte
Oxide layer grows
Seal pores for better protection
Notes: What to say: Mention oxide film is adherent and protective.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 53
Vapour corrosion inhibitors
Define VCI.
VTU 1BCHES102/202 | Module 4
VCI
53
Vapour corrosion inhibitors
Vapour corrosion inhibitors are volatile chemicals that vaporize, reach metal surfaces and form a protective adsorbed film against corrosion.
Volatile inhibitor
Vapour phase
Adsorbed film
Closed space
Protection
Notes: What to say: Connect directly to circuit-board packaging.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 54
VCI for computer circuit boards
Explain syllabus application.
VTU 1BCHES102/202 | Module 4
VCI
54
Place VCI source in package
Inhibitor vapour fills enclosure
Molecules adsorb on metal tracks
Moisture attack is reduced
Circuit board is protected during storage
Notes: What to say: Use PCB storage/shipping as the example.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 55
Galvanization, anodization and VCI compared
Help students separate controls.
VTU 1BCHES102/202 | Module 4
Control Revision
55
Method
Protective idea
Best example
Galvanization
Zinc barrier plus sacrificial action
Steel sheets, pipes
Anodization
Thick oxide layer on metal
Aluminium device parts
VCI
Protective vapour film in enclosure
Computer circuit boards
Notes: What to say: Use this as a revision table.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 56
Corrosion penetration rate
Define CPR.
VTU 1BCHES102/202 | Module 4
CPR
56
CPR
Corrosion penetration rate expresses how fast corrosion penetrates into a metal surface, usually as thickness loss per unit time.
Thickness loss
Rate
Weight loss
Area
Time
Notes: What to say: Tell students CPR converts lab weight loss into practical damage rate.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 57
CPR formula and units
Give numerical formula.
VTU 1BCHES102/202 | Module 4
CPR
57
CPR = K W / (D A T)
W = weight loss
D = density
A = exposed area
T = exposure time
K = unit constant
CPR formula
Exam method: write the equation, define symbols, substitute values with units, and state the practical meaning of the result.
Notes: What to say: Define each symbol clearly before substituting values.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 58
CPR numerical method
Show problem-solving steps.
VTU 1BCHES102/202 | Module 4
CPR
58
Write given data
Convert units consistently
Choose correct K
Substitute in CPR formula
Report penetration rate
Notes: What to say: Warn that most mistakes are unit mistakes.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 59
Worked CPR template
Provide a compact calculation pattern.
VTU 1BCHES102/202 | Module 4
CPR
59
Given: W, D, A, T
CPR = K W / (D A T)
If W increases or area/time decreases,
CPR becomes larger.
Interpret: higher CPR means faster metal loss.
CPR numerical template
Exam method: write the equation, define symbols, substitute values with units, and state the practical meaning of the result.
Notes: What to say: Use this as a flexible template instead of one fixed dataset.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 60
Common mistakes in Module 4
Clarify likely errors.
VTU 1BCHES102/202 | Module 4
Exam Prep
60
1
Confusing sensor, transducer and actuator
2
Writing sensor construction without principle
3
Forgetting calibration in colorimetric estimation
4
Mixing NOx/SOx gas sensor with biosensor working
5
Forgetting that anodic area corrodes
6
Confusing galvanization with anodization
7
Solving CPR without consistent units
Notes: What to say: Use this as pre-exam protection.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 61
How to write a 10-mark sensor answer
Give a repeatable framework.
VTU 1BCHES102/202 | Module 4
Exam Prep
61
Definition
Principle
Construction diagram
Working steps
Application and limitations
Notes: What to say: Tell students this works for conductometric, colorimetric, gas and glucose sensors.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 62
How to write a 10-mark corrosion answer
Give a repeatable framework.
VTU 1BCHES102/202 | Module 4
Exam Prep
62
Definition
Electrochemical theory
Type / control method
Diagram or reactions
Examples and prevention
Notes: What to say: Tell students to include anode/cathode reactions wherever possible.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 63
Module 4 mind map
Connect all syllabus headings.
VTU 1BCHES102/202 | Module 4
Summary
63
Module 4
Sensors
Detect and measure.
Conductometric
Acid mixture.
Colorimetric
Copper in PCB.
Gas and bio
NOx/SOx and glucose.
Corrosion
Electrochemical damage.
Control and CPR
Protection and rate.
Notes: What to say: Use this as the end-of-teaching overview.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 64
20 important viva questions
Rapid oral revision.
VTU 1BCHES102/202 | Module 4
Summary
64
1. What is a sensor?
2. Define transducer.
3. Define actuator.
4. What is conductance?
5. Principle of conductometric sensor?
6. Why use AC in conductometry?
7. How is acid mixture estimated?
8. What is colorimetry?
9. State Beer-Lambert law.
10. How is copper estimated in PCB?
11. What is electrochemical gas sensor?
12. How are NOx and SOx detected?
13. What is biosensor?
14. Role of glucose oxidase?
15. Define corrosion.
16. State electrochemical theory.
17. What is differential metal corrosion?
18. What is pitting corrosion?
19. What is galvanization?
20. Define CPR.
Notes: What to say: Run this as quick viva.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 65
Important exam questions
Provide practice questions.
VTU 1BCHES102/202 | Module 4
Summary
65
1. 2M: Define sensor and transducer.
2. 2M: Define actuator.
3. 2M: Define corrosion.
4. 2M: What is CPR?
5. 2M: What is VCI?
6. 5M: Explain conductometric sensor construction and working.
7. 5M: Explain acid mixture estimation by conductometry.
8. 5M: Explain colorimetric sensor instrumentation.
9. 5M: Explain glucose biosensor working.
10. 5M: Explain electrochemical theory of corrosion.
11. 10M: Explain conductometric and colorimetric sensors with applications.
12. 10M: Explain electrochemical gas sensor and glucose biosensor.
13. 10M: Explain corrosion types: differential metal, waterline and pitting.
14. 10M: Explain galvanization, anodization and VCI protection.
15. 10M: Solve CPR numerical problems with definition and formula.
Notes: What to say: Use this as the student study checklist.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.

## Slide 66
One-page revision sheet
End with compact keywords and answer pattern.
VTU 1BCHES102/202 | Module 4
Summary
66
Keywords
Sensor; transducer; actuator; analyte; sensing element; signal conditioning; conductance; conductometric titration; acid mixture; colorimetry; absorbance; Beer-Lambert law; calibration curve; copper estimation; PCB; electrochemical gas sensor; working electrode; counter electrode; reference electrode; NOx; SOx; biosensor; bioreceptor; glucose oxidase; biofluids; corrosion; electrochemical theory; anode; cathode; electrolyte; differential metal corrosion; differential aeration corrosion; waterline corrosion; pitting corrosion; galvanization; zinc coating; anodization; oxide layer; vapour corrosion inhibitor; circuit board protection; corrosion penetration rate; CPR formula.
Exam answer pattern
For sensors: principle, construction, working, application. For corrosion: theory, type/control, reactions or diagram, examples, CPR formula if numerical.
Memory trick
Sensors convert chemical information into signals; corrosion converts useful metal into corrosion product. Track the direction of conversion.
Notes: What to say: Close by asking students to explain one sensor and one corrosion-control method from memory.
Pause cue: pause after the construction/process appears and ask students to trace the signal or corrosion path.
Pointing cue: point from sample/analyte or metal surface to the chemical change, then to the measured output.
Question to ask students: Ask students to identify input, sensing element, signal and output.
Animation instructions: Fade title; appear parts one by one; wipe process arrows in order; highlight keywords such as transducer, actuator, conductance, colorimetry, NOx, SOx, biosensor, corrosion cell, galvanization, anodization, VCI and CPR word by word.
Transition style: Fade.
[Sources] VTU syllabus PDF 1BCHES102/202 Applied Chemistry for Smart Systems, Module 4 checklist, downloaded from https://vtu.ac.in/pdf/UG2024/1BCHES102.pdf; syllabus-listed textbooks: Engineering Chemistry, Suba Ramesh, Vairam, Ananda Murthy, Wiley India, 2011; A Textbook of Engineering Chemistry, R.V. Gadag and Nityananda Shetty, I.K. International, 2nd ed., 2016; Engineering Chemistry, Jain & Jain, Dhanpat Rai; Engineering Chemistry by O.G. Palanna, McGraw Hill Education; Wiley Engineering Chemistry, Wiley India, 2013.