## Slide 1
Module 5
Domestic Wiring: Two-way and three-way control of loads. Electricity Bill: Definition of "unit" used for consumption of
• Subject: Introduction to Electrical Engineering
• Code: 1BESC104B/204B
• Depth pass: 9 -> 40 slides
• Source basis: official syllabus; Official syllabus; no local prescribed textbook PDF matched for this module
Problem
->
Foundation
->
Mechanism
->
Worked example
->
Exam view
Introduction to Electrical Engineering

## Slide 2
1BESC104B/204B | Module 5
Teaching journey for the module
2/40
Motivation
->
Concept
->
Mechanism
->
Example
->
Recap
• Every major syllabus topic is expanded through purpose, structure, working, example, application, and exam perspective.
• Topics are scoped to the official syllabus; no unverified previous-year questions are inserted.
• Where the syllabus names textbook sections, the deck records that mapping for lecturer traceability.
Introduction to Electrical Engineering

## Slide 3
1BESC104B/204B | Module 5
Official syllabus topic map
3/40
#
Syllabus topic
Treatment
1
Wiring: Two-way and three-way control of loads
Concept + mechanism + worked explanation + exam view
2
Bill: Definition of "unit" used for consumption of electr...
Concept + mechanism + worked explanation + exam view
3
Two-part electricity tariff
Concept + mechanism + worked explanation + exam view
4
Safety measures: Working principle of fuse and miniature...
Concept + mechanism + worked explanation + exam view
5
Personal safety measures: Electric shock, safety precauti...
Concept + mechanism + worked explanation + exam view
6
Earthing and types: Plate earthing and pipe earthing.
Concept + mechanism + worked explanation + exam view
Introduction to Electrical Engineering

## Slide 4
1BESC104B/204B | Module 5
Textbook and source mapping
4/40
Syllabus topic
Prescribed source
PPTX treatment
Wiring: Two-way and three-way control of loads
Official syllabus; no local prescribed textbook PDF match...
Expanded in topic teaching cluster
Bill: Definition of "unit" used for consumption of electr...
Official syllabus; no local prescribed textbook PDF match...
Expanded in topic teaching cluster
Two-part electricity tariff
Official syllabus; no local prescribed textbook PDF match...
Expanded in topic teaching cluster
Safety measures: Working principle of fuse and miniature....
Official syllabus; no local prescribed textbook PDF match...
Expanded in topic teaching cluster
Personal safety measures: Electric shock, safety precauti...
Official syllabus; no local prescribed textbook PDF match...
Expanded in topic teaching cluster
Earthing and types: Plate earthing and pipe earthing.
Official syllabus; no local prescribed textbook PDF match...
Expanded in topic teaching cluster
Introduction to Electrical Engineering

## Slide 5
1BESC104B/204B | Module 5
Key terms before detailed teaching
5/40
Domestic
Wiring
Two-way
three-way
control
loads
Electricity
Bill
Definition
unit
• Use these terms consistently in derivations, diagrams, programs, explanations, and exam answers.
• Students should be able to define, connect, and apply each term by the end of the module.
Introduction to Electrical Engineering

## Slide 6
1BESC104B/204B | Module 5
1. Why this topic matters
6/40
Wiring: Two-way and three-way control of loads
• Wiring: Two-way and three-way control of... is best understood by tracing signal/current path, component role, waveform, and result.
• Connect the idea to the module problem before definitions.
• Students should be able to say what changes, what is measured, and why the result matters.
Input/source
->
Component role
->
Circuit/system law
->
Waveform/output
->
Application
Introduction to Electrical Engineering

## Slide 7
1BESC104B/204B | Module 5
1. Concept structure
7/40
Part
Classroom explanation
Check question
Input/source
Input/source explains one necessary part of Wiring: Two-w...
What is given?
Component role
Component role explains one necessary part of Wiring: Two...
How does this step change the result?
Circuit/system law
Circuit/system law explains one necessary part of Wiring:...
How does this step change the result?
Waveform/output
Waveform/output explains one necessary part of Wiring: Tw...
How does this step change the result?
Application
Application explains one necessary part of Wiring: Two-wa...
What does it mean?
Introduction to Electrical Engineering

## Slide 8
1BESC104B/204B | Module 5
1. Worked teaching sequence
8/40
Draw block/circuit
->
Mark current/signal path
->
Apply relation
->
Calculate/compare
->
Read waveform
• 1. Draw block/circuit: make the starting point explicit.
• 2. Mark current/signal path: make the starting point explicit.
• 3. Apply relation: show the intermediate reasoning.
• 4. Calculate/compare: show the intermediate reasoning.
• 5. Read waveform: close with interpretation.
• 6. State use: close with interpretation.
Introduction to Electrical Engineering

## Slide 9
1BESC104B/204B | Module 5
1. Application, confusion, exam view
9/40
Application
Use Wiring: Two-way and three-way control of loads when a problem asks students to explain, compute, design, compare, or justify a result.
Common mistake
Naming components without explaining their effect on voltage, current, signal, or power.
Exam takeaway
A complete answer defines the topic, shows the mechanism or working, includes a labeled example, and states the final interpretation.
Introduction to Electrical Engineering

## Slide 10
1BESC104B/204B | Module 5
2. Why this topic matters
10/40
Bill: Definition of "unit" used for consumption of electrical energy, power rating of common household applianc...
• Bill: Definition of "unit" used for consu... is best understood by tracing signal/current path, component role, waveform, and result.
• Connect the idea to the module problem before definitions.
• Students should be able to say what changes, what is measured, and why the result matters.
Input/source
->
Component role
->
Circuit/system law
->
Waveform/output
->
Application
Introduction to Electrical Engineering

## Slide 11
1BESC104B/204B | Module 5
2. Concept structure
11/40
Part
Classroom explanation
Check question
Input/source
Input/source explains one necessary part of Bill: Definit...
What is given?
Component role
Component role explains one necessary part of Bill: Defin...
How does this step change the result?
Circuit/system law
Circuit/system law explains one necessary part of Bill: D...
How does this step change the result?
Waveform/output
Waveform/output explains one necessary part of Bill: Defi...
How does this step change the result?
Application
Application explains one necessary part of Bill: Definiti...
What does it mean?
Introduction to Electrical Engineering

## Slide 12
1BESC104B/204B | Module 5
2. Worked teaching sequence
12/40
Draw block/circuit
->
Mark current/signal path
->
Apply relation
->
Calculate/compare
->
Read waveform
• 1. Draw block/circuit: make the starting point explicit.
• 2. Mark current/signal path: make the starting point explicit.
• 3. Apply relation: show the intermediate reasoning.
• 4. Calculate/compare: show the intermediate reasoning.
• 5. Read waveform: close with interpretation.
• 6. State use: close with interpretation.
Introduction to Electrical Engineering

## Slide 13
1BESC104B/204B | Module 5
2. Application, confusion, exam view
13/40
Application
Use Bill: Definition of "unit" used for consumption of electr... when a problem asks students to explain, compute, design, compare, or justify a result.
Common mistake
Naming components without explaining their effect on voltage, current, signal, or power.
Exam takeaway
A complete answer defines the topic, shows the mechanism or working, includes a labeled example, and states the final interpretation.
Introduction to Electrical Engineering

## Slide 14
1BESC104B/204B | Module 5
3. Why this topic matters
14/40
Two-part electricity tariff
• Two-part electricity tariff is best understood by tracing signal/current path, component role, waveform, and result.
• Connect the idea to the module problem before definitions.
• Students should be able to say what changes, what is measured, and why the result matters.
Input/source
->
Component role
->
Circuit/system law
->
Waveform/output
->
Application
Introduction to Electrical Engineering

## Slide 15
1BESC104B/204B | Module 5
3. Concept structure
15/40
Part
Classroom explanation
Check question
Input/source
Input/source explains one necessary part of Two-part elec...
What is given?
Component role
Component role explains one necessary part of Two-part el...
How does this step change the result?
Circuit/system law
Circuit/system law explains one necessary part of Two-par...
How does this step change the result?
Waveform/output
Waveform/output explains one necessary part of Two-part e...
How does this step change the result?
Application
Application explains one necessary part of Two-part elect...
What does it mean?
Introduction to Electrical Engineering

## Slide 16
1BESC104B/204B | Module 5
3. Worked teaching sequence
16/40
Draw block/circuit
->
Mark current/signal path
->
Apply relation
->
Calculate/compare
->
Read waveform
• 1. Draw block/circuit: make the starting point explicit.
• 2. Mark current/signal path: make the starting point explicit.
• 3. Apply relation: show the intermediate reasoning.
• 4. Calculate/compare: show the intermediate reasoning.
• 5. Read waveform: close with interpretation.
• 6. State use: close with interpretation.
Introduction to Electrical Engineering

## Slide 17
1BESC104B/204B | Module 5
3. Application, confusion, exam view
17/40
Application
Use Two-part electricity tariff when a problem asks students to explain, compute, design, compare, or justify a result.
Common mistake
Naming components without explaining their effect on voltage, current, signal, or power.
Exam takeaway
A complete answer defines the topic, shows the mechanism or working, includes a labeled example, and states the final interpretation.
Introduction to Electrical Engineering

## Slide 18
1BESC104B/204B | Module 5
4. Why this topic matters
18/40
Safety measures: Working principle of fuse and miniature circuit breaker (MCB), merits and demerits
• Safety measures: Working principle of fus... is best understood by tracing signal/current path, component role, waveform, and result.
• Connect the idea to the module problem before definitions.
• Students should be able to say what changes, what is measured, and why the result matters.
Input/source
->
Component role
->
Circuit/system law
->
Waveform/output
->
Application
Introduction to Electrical Engineering

## Slide 19
1BESC104B/204B | Module 5
4. Concept structure
19/40
Part
Classroom explanation
Check question
Input/source
Input/source explains one necessary part of Safety measur...
What is given?
Component role
Component role explains one necessary part of Safety meas...
How does this step change the result?
Circuit/system law
Circuit/system law explains one necessary part of Safety...
How does this step change the result?
Waveform/output
Waveform/output explains one necessary part of Safety mea...
How does this step change the result?
Application
Application explains one necessary part of Safety measure...
What does it mean?
Introduction to Electrical Engineering

## Slide 20
1BESC104B/204B | Module 5
4. Worked teaching sequence
20/40
Draw block/circuit
->
Mark current/signal path
->
Apply relation
->
Calculate/compare
->
Read waveform
• 1. Draw block/circuit: make the starting point explicit.
• 2. Mark current/signal path: make the starting point explicit.
• 3. Apply relation: show the intermediate reasoning.
• 4. Calculate/compare: show the intermediate reasoning.
• 5. Read waveform: close with interpretation.
• 6. State use: close with interpretation.
Introduction to Electrical Engineering

## Slide 21
1BESC104B/204B | Module 5
4. Application, confusion, exam view
21/40
Application
Use Safety measures: Working principle of fuse and miniature... when a problem asks students to explain, compute, design, compare, or justify a result.
Common mistake
Naming components without explaining their effect on voltage, current, signal, or power.
Exam takeaway
A complete answer defines the topic, shows the mechanism or working, includes a labeled example, and states the final interpretation.
Introduction to Electrical Engineering

## Slide 22
1BESC104B/204B | Module 5
5. Why this topic matters
22/40
Personal safety measures: Electric shock, safety precautions to avoid shock
• Personal safety measures: Electric shock,... is best understood by tracing signal/current path, component role, waveform, and result.
• Connect the idea to the module problem before definitions.
• Students should be able to say what changes, what is measured, and why the result matters.
Input/source
->
Component role
->
Circuit/system law
->
Waveform/output
->
Application
Introduction to Electrical Engineering

## Slide 23
1BESC104B/204B | Module 5
5. Concept structure
23/40
Part
Classroom explanation
Check question
Input/source
Input/source explains one necessary part of Personal safe...
What is given?
Component role
Component role explains one necessary part of Personal sa...
How does this step change the result?
Circuit/system law
Circuit/system law explains one necessary part of Persona...
How does this step change the result?
Waveform/output
Waveform/output explains one necessary part of Personal s...
How does this step change the result?
Application
Application explains one necessary part of Personal safet...
What does it mean?
Introduction to Electrical Engineering

## Slide 24
1BESC104B/204B | Module 5
5. Worked teaching sequence
24/40
Draw block/circuit
->
Mark current/signal path
->
Apply relation
->
Calculate/compare
->
Read waveform
• 1. Draw block/circuit: make the starting point explicit.
• 2. Mark current/signal path: make the starting point explicit.
• 3. Apply relation: show the intermediate reasoning.
• 4. Calculate/compare: show the intermediate reasoning.
• 5. Read waveform: close with interpretation.
• 6. State use: close with interpretation.
Introduction to Electrical Engineering

## Slide 25
1BESC104B/204B | Module 5
5. Application, confusion, exam view
25/40
Application
Use Personal safety measures: Electric shock, safety precauti... when a problem asks students to explain, compute, design, compare, or justify a result.
Common mistake
Naming components without explaining their effect on voltage, current, signal, or power.
Exam takeaway
A complete answer defines the topic, shows the mechanism or working, includes a labeled example, and states the final interpretation.
Introduction to Electrical Engineering

## Slide 26
1BESC104B/204B | Module 5
6. Why this topic matters
26/40
Earthing and types: Plate earthing and pipe earthing.
• Earthing and types: Plate earthing and pi... is best understood by tracing signal/current path, component role, waveform, and result.
• Connect the idea to the module problem before definitions.
• Students should be able to say what changes, what is measured, and why the result matters.
Input/source
->
Component role
->
Circuit/system law
->
Waveform/output
->
Application
Introduction to Electrical Engineering

## Slide 27
1BESC104B/204B | Module 5
6. Concept structure
27/40
Part
Classroom explanation
Check question
Input/source
Input/source explains one necessary part of Earthing and...
What is given?
Component role
Component role explains one necessary part of Earthing an...
How does this step change the result?
Circuit/system law
Circuit/system law explains one necessary part of Earthin...
How does this step change the result?
Waveform/output
Waveform/output explains one necessary part of Earthing a...
How does this step change the result?
Application
Application explains one necessary part of Earthing and t...
What does it mean?
Introduction to Electrical Engineering

## Slide 28
1BESC104B/204B | Module 5
6. Worked teaching sequence
28/40
Draw block/circuit
->
Mark current/signal path
->
Apply relation
->
Calculate/compare
->
Read waveform
• 1. Draw block/circuit: make the starting point explicit.
• 2. Mark current/signal path: make the starting point explicit.
• 3. Apply relation: show the intermediate reasoning.
• 4. Calculate/compare: show the intermediate reasoning.
• 5. Read waveform: close with interpretation.
• 6. State use: close with interpretation.
Introduction to Electrical Engineering

## Slide 29
1BESC104B/204B | Module 5
6. Application, confusion, exam view
29/40
Application
Use Earthing and types: Plate earthing and pipe earthing. when a problem asks students to explain, compute, design, compare, or justify a result.
Common mistake
Naming components without explaining their effect on voltage, current, signal, or power.
Exam takeaway
A complete answer defines the topic, shows the mechanism or working, includes a labeled example, and states the final interpretation.
Introduction to Electrical Engineering

## Slide 30
1BESC104B/204B | Module 5
Module concept map
30/40
• Problem or need
• Core ideas
• Mechanism / method
• Worked example pattern
• Applications and exam answer
Introduction to Electrical Engineering

## Slide 31
1BESC104B/204B | Module 5
Key definitions
31/40
• Domestic: define using the syllabus context and one example.
• Wiring: define using the syllabus context and one example.
• Two-way: define using the syllabus context and one example.
• three-way: define using the syllabus context and one example.
• control: define using the syllabus context and one example.
Introduction to Electrical Engineering

## Slide 32
1BESC104B/204B | Module 5
Important formulae / diagrams / algorithms
32/40
• Input/source: prepare a labeled board version for exams and classroom explanation.
• Component role: prepare a labeled board version for exams and classroom explanation.
• Circuit/system law: prepare a labeled board version for exams and classroom explanation.
• Waveform/output: prepare a labeled board version for exams and classroom explanation.
• Application: prepare a labeled board version for exams and classroom explanation.
Introduction to Electrical Engineering

## Slide 33
1BESC104B/204B | Module 5
Common mistakes and corrections
33/40
• Naming components without explaining their effect on voltage, current, signal, or power.
• Use diagrams, units, intermediate steps, or scenario context wherever the answer demands them.
• Do not replace explanation with topic-name listing.
Introduction to Electrical Engineering

## Slide 34
1BESC104B/204B | Module 5
Practice questions
34/40
• 1. Explain Wiring: Two-way and three-way control of loads with a labeled example and exam-ready conclusion.
• 2. Explain Bill: Definition of "unit" used for consumption of electrical energy, p... with a labeled example and exam-ready conclusion.
• 3. Explain Two-part electricity tariff with a labeled example and exam-ready conclusion.
• 4. Explain Safety measures: Working principle of fuse and miniature circuit breake... with a labeled example and exam-ready conclusion.
• 5. Explain Personal safety measures: Electric shock, safety precautions to avoid s... with a labeled example and exam-ready conclusion.
Note on PYQs
No repository-verified VTU previous-year question source was found for this module; these are practice questions.
Introduction to Electrical Engineering

## Slide 35
1BESC104B/204B | Module 5
Board-work expansion: Earthing and types: Plate earthing and pipe...
35/40
Draw block/circuit
->
Mark current/signal path
->
Apply relation
->
Calculate/compare
->
Read waveform
Step
Lecturer writes
Student checks
1
Draw block/circuit
Known information
2
Mark current/signal path
Known information
3
Apply relation
Intermediate working
4
Calculate/compare
Intermediate working
5
Read waveform
Meaning of result
Introduction to Electrical Engineering

## Slide 36
1BESC104B/204B | Module 5
Board-work expansion: Wiring: Two-way and three-way control of lo...
36/40
Draw block/circuit
->
Mark current/signal path
->
Apply relation
->
Calculate/compare
->
Read waveform
Step
Lecturer writes
Student checks
1
Draw block/circuit
Known information
2
Mark current/signal path
Known information
3
Apply relation
Intermediate working
4
Calculate/compare
Intermediate working
5
Read waveform
Meaning of result
Introduction to Electrical Engineering

## Slide 37
1BESC104B/204B | Module 5
Board-work expansion: Bill: Definition of "unit" used for consump...
37/40
Draw block/circuit
->
Mark current/signal path
->
Apply relation
->
Calculate/compare
->
Read waveform
Step
Lecturer writes
Student checks
1
Draw block/circuit
Known information
2
Mark current/signal path
Known information
3
Apply relation
Intermediate working
4
Calculate/compare
Intermediate working
5
Read waveform
Meaning of result
Introduction to Electrical Engineering

## Slide 38
1BESC104B/204B | Module 5
Board-work expansion: Two-part electricity tariff
38/40
Draw block/circuit
->
Mark current/signal path
->
Apply relation
->
Calculate/compare
->
Read waveform
Step
Lecturer writes
Student checks
1
Draw block/circuit
Known information
2
Mark current/signal path
Known information
3
Apply relation
Intermediate working
4
Calculate/compare
Intermediate working
5
Read waveform
Meaning of result
Introduction to Electrical Engineering

## Slide 39
1BESC104B/204B | Module 5
Board-work expansion: Safety measures: Working principle of fuse...
39/40
Draw block/circuit
->
Mark current/signal path
->
Apply relation
->
Calculate/compare
->
Read waveform
Step
Lecturer writes
Student checks
1
Draw block/circuit
Known information
2
Mark current/signal path
Known information
3
Apply relation
Intermediate working
4
Calculate/compare
Intermediate working
5
Read waveform
Meaning of result
Introduction to Electrical Engineering

## Slide 40
1BESC104B/204B | Module 5
Board-work expansion: Personal safety measures: Electric shock, s...
40/40
Draw block/circuit
->
Mark current/signal path
->
Apply relation
->
Calculate/compare
->
Read waveform
Step
Lecturer writes
Student checks
1
Draw block/circuit
Known information
2
Mark current/signal path
Known information
3
Apply relation
Intermediate working
4
Calculate/compare
Intermediate working
5
Read waveform
Meaning of result
Introduction to Electrical Engineering