## Slide 1
Module 4
Electrode System and Electrochemical Sensors Electrode System: Introduction, types of electrodes, overview of Nernst equ
• Subject: Applied Chemistry for Emerging Electronics and Futuristic Devices
• Code: 1BCHEE102/202
• Semester: I/II
• Teaching focus: chemistry
Structure
→
Property
→
Process
→
Device
→
Impact
Molecular choice explains engineering performance
Applied Chemistry for Emerging Electronics and Futuristic Devices | 1BCHEE102/202
Module 4 | 1/9

## Slide 2
1BCHEE102/202 | Module 4
Learning route for this module
Motivation
→
Concept
→
Working
→
Application
→
Recap
• Electrode System and Electrochemical Sensors Electrode System:
• Introduction, types of electrodes, overview of Nernst equation, reference electrode-construction, working and applications of calomel electrode.
• Ion selective electrode- definition, construction, working of glass electrode, determination of pH using glass electrode.
• Construction and working of concentration cell and numerical.
• Sensing Methods:
Applied Chemistry for Emerging Electronics and Futuristic Devices | 1BCHEE102/202
Module 4 | 2/9

## Slide 3
1BCHEE102/202 | Module 4
Core concepts from the official syllabus
Electrode
System
Electrochemical
Sensors
electrodes
overview
• Introduction, principle and instrumentation of colorimetric sensors;
• its application in the estimation of copper in PCBs.
• Principle and instrumentation of potentiometric sensors and its application in the estimation of iron in steel, conductometric sensors;
• its application in the estimation of acid mixture in the sample.
Applied Chemistry for Emerging Electronics and Futuristic Devices | 1BCHEE102/202
Module 4 | 3/9

## Slide 4
1BCHEE102/202 | Module 4
Concept explanation
• Electrode System and Electrochemical Sensors Electrode System:
• Introduction, types of electrodes, overview of Nernst equation, reference electrode-construction, working a...
• Ion selective electrode- definition, construction, working of glass electrode, determination of pH using gl...
• Construction and working of concentration cell and numerical.
• Sensing Methods:
• Introduction, principle and instrumentation of colorimetric sensors;
Instructor move
Pause after each idea and ask students to connect it to the next step.
Structure
→
Property
→
Process
→
Device
→
Impact
Molecular choice explains engineering performance
Applied Chemistry for Emerging Electronics and Futuristic Devices | 1BCHEE102/202
Module 4 | 4/9

## Slide 5
1BCHEE102/202 | Module 4
Working model
Input condition
→
Principle
→
Process
→
Observation
→
Interpretation
• Use the syllabus terms while solving; do not answer only with the final result.
• Show intermediate reasoning so students can locate the step where mistakes enter.
• Close the example by explaining what the result means in engineering or professional practice.
Applied Chemistry for Emerging Electronics and Futuristic Devices | 1BCHEE102/202
Module 4 | 5/9

## Slide 6
1BCHEE102/202 | Module 4
Classroom example
Example prompt
Electrode System and Electrochemical Sensors Electrode System:
• Identify the relevant concept: Electrode
• State the rule or principle using syllabus language.
• Work through one small case visibly on the board.
• Ask students which assumption would change the answer.
Exam angle: a complete answer names the concept, shows the working, and states the interpretation.
Applied Chemistry for Emerging Electronics and Futuristic Devices | 1BCHEE102/202
Module 4 | 6/9

## Slide 7
1BCHEE102/202 | Module 4
Applications and common mistakes
Applications
• its application in the estimation of copper in PCBs.
• Principle and instrumentation of potentiometric sensors and its application in the estimation of iron in steel, conductometric sensors;
• its application in the estimation of acid mixture in the sample.
• Number of Hours:
Common mistakes
• Writing only definitions without explanation.
• Skipping intermediate working or assumptions.
• Mixing similar terms without a comparison.
• Not linking the result back to the application.
Applied Chemistry for Emerging Electronics and Futuristic Devices | 1BCHEE102/202
Module 4 | 7/9

## Slide 8
1BCHEE102/202 | Module 4
Syllabus coverage map
Syllabus topic
Teaching treatment
Status
Electrode System and Electrochemical Sensors Electrode System:
Explained with concept, working, example, and exam view
COVERED
Introduction, types of electrodes, overview of Nernst equation, reference electrode-constructio
Explained with concept, working, example, and exam view
COVERED
Ion selective electrode- definition, construction, working of glass electrode, determination of
Explained with concept, working, example, and exam view
COVERED
Construction and working of concentration cell and numerical.
Explained with concept, working, example, and exam view
COVERED
Sensing Methods:
Explained with concept, working, example, and exam view
COVERED
Introduction, principle and instrumentation of colorimetric sensors;
Explained with concept, working, example, and exam view
COVERED
its application in the estimation of copper in PCBs.
Explained with concept, working, example, and exam view
COVERED
Applied Chemistry for Emerging Electronics and Futuristic Devices | 1BCHEE102/202
Module 4 | 8/9

## Slide 9
1BCHEE102/202 | Module 4
Module recap and exam preparation
• Key definitions: Electrode, System, Electrochemical, Sensors
• Important diagrams: use a labelled flow, setup, circuit, graph, or concept map where relevant.
• Important working: show cause, mechanism, result, and interpretation.
• Common mistakes: avoid skipped steps, unsupported claims, and unlabeled diagrams.
• Practice: prepare short-answer, application, and worked-example questions from the listed topics.
Previous VTU Questions
No repository-verified previous VTU questions were found for this module, so none are fabricated here.
Applied Chemistry for Emerging Electronics and Futuristic Devices | 1BCHEE102/202
Module 4 | 9/9