## Slide 1
Experiment 05
Measurement of three-phase power of an inductive load by 2-wattmeter method, when the load is (a) star connected and (b)
• Subject: Basic Electrical Lab
• Code: 1BBEEL107
• Semester: I/II
Aim
→
Setup
→
Procedure
→
Observation
→
Viva
Record evidence, not just completion
Basic Electrical Lab | 1BBEEL107
Experiment 5 | 1/7

## Slide 2
1BBEEL107 | Experiment 5
Aim
Measurement of three-phase power of an inductive load by 2-wattmeter method, when the load is (a) star connected and (b)
• Learning objective: perform the task accurately and explain the principle behind it.
• Expected result: a recorded observation, verified output, working setup, or justified prototype decision.
Prepare
→
Perform
→
Observe
→
Verify
→
Record
Basic Electrical Lab | 1BBEEL107
Experiment 5 | 2/7

## Slide 3
1BBEEL107 | Experiment 5
Theory
• Measurement of three-phase power of an inductive load by 2-wattmeter method
• when the load is (a) star connected
• (b) delta connected. Calculation of resistance
• reactance
• impedance
Measurement
→
three-phase
→
power
→
inductive
→
load
Basic Electrical Lab | 1BBEEL107
Experiment 5 | 3/7

## Slide 4
1BBEEL107 | Experiment 5
Required tools / components
• Laboratory manual or problem statement
• Required apparatus, software, components, measuring instruments, or drawing tools
• Observation table / record book
• Safety and calibration checklist
Precaution
Do not start measurement or execution until connections, inputs, and assumptions are checked.
Basic Electrical Lab | 1BBEEL107
Experiment 5 | 4/7

## Slide 5
1BBEEL107 | Experiment 5
Procedure
Read aim
→
Set up
→
Execute
→
Record
→
Conclude
• Write the algorithm / circuit / setup before execution.
• Record each observation immediately.
• Compare the result with the expected behaviour.
• State the reason for any deviation.
Basic Electrical Lab | 1BBEEL107
Experiment 5 | 5/7

## Slide 6
1BBEEL107 | Experiment 5
Observation
Trial
Input
Observation
Inference
1
2
3
4
Expected result: the observation supports the stated principle and can be defended in viva.
Basic Electrical Lab | 1BBEEL107
Experiment 5 | 6/7

## Slide 7
1BBEEL107 | Experiment 5
Errors
• Loose or incorrect connections / inputs
• Skipping calibration or dry run
• Recording values without units
• Not explaining why the result is valid
• Ignoring safety, component rating, or setup constraints
Viva questions
• What is the aim of this experiment?
• Which principle or algorithm is used?
• What changes if the input/setup changes?
• How do you identify an error in the result?
Basic Electrical Lab | 1BBEEL107
Experiment 5 | 7/7